## Results
Ruskington
Near Sleaford
Linconshire
NG34 9EG
Tele 01526834825
Gas Monitoring at RF Yalberton Quarry, Paignton
| Client:- | RF Aggregates (South West) Limited
Yalberton Tor Quarry Landfill
Yalberton Road
Paignton
Devon
TQ4 7PD
With Regard to Permit EPR/GP3498VW
[7 empty] | Date | 2017-12-23
| Test Hole | Atmospheric Pressure | Relative Pressure (mB) | CH4 | CO2 | O2 | Bal | Peak CH4 | LEL | H2S | CO | Water Depth (m) | [12 empty] | Location | BP | RP | CH4 | Co2 | O2 | Bal | H2S | CO | LEL | Peak
| See Plan | (mB) | (mB) | % | % | % | % | % | %
[25 empty] | Gas 1 Top | 1015 | -0.28 | 0 | 0 | 13.7 | 86.3 | 0 | 4 | 0 | 0
| 1 | 1002 | -0.5 | 0 | 0 | 9.8 | 90.2 | 0 | 0 | 0 | 0 | [13 empty] | Gas 2 Top | 1015 | -0.26 | 0 | 0 | 13.9 | 86.1 | 0 | 4 | 0 | 0
| 2 | 1002 | -0.5 | 0.1 | 0.2 | 9.3 | 90.4 | 0.1 | 2 | 0 | 0 | [13 empty] | Gas 3 Top | 1016 | -0.25 | 0 | 0 | 13.8 | 86.2 | 0 | 5 | 0 | 0.1
| 3 | 1002 | -0.5 | 0.3 | 0.5 | 8.1 | 91.1 | 0.3 | 6 | 0 | 0 | [13 empty] | Gas 4 Top | 1016 | -0.23 | 0 | 0 | 13.9 | 86.1 | 0 | 6 | 0 | 0
| 4 | 1002 | 0.3 | 0 | 0 | 8.3 | 91.7 | 0 | 0 | 0 | 0 | [13 empty] | Gas 5 Top | 1016 | -0.28 | 0 | 0 | 12.7 | 86.1 | 0 | 4 | 0 | 0
| 5 | 1002 | -0.3 | 0.4 | 0.1 | 8.6 | 90.9 | 0.4 | 8 | 0 | 0
| 6 | 1002 | -0.4 | 0 | 0 | 9.2 | 90.8 | 0 | 0 | 0 | 0 | [26 empty] | Density | Moisture Content
[25 empty] | Gas 1 Bottom | 1017 | -0.32 | 0 | 0 | 13.9 | 86.1 | 1 | 4 | 0 | 0 | pen >15% | Very Hard and Dense |  | 10.4
[25 empty] | Gas 2 Bottom | 1017 | -0.4 | 0 | 0 | 14 | 86 | 0 | 7 | 0 | 0 | pen >15% | Very Hard and Dense |  | 9.7
[24 empty] | Previous | Gas 3 Bottom | 1017 | -0.41 | 0 | 0 | 13.7 | 86.3 | 0 | 4 | 0 | 0 | pen >15% | Very Hard and Dense |  | 12.1
MH3 | 1 | 1003 | -0.3 | 0.3 | 1 | 8.6 | 90.1 | 0.3 | 6 | 0 | 0 | 24,1 | 24.3 | 25.8 | 28.75 | 27.4 | 21.9 | 23.6 | 26 | 23.9 | 28 | 26.1 | 25.75 | 25.9 | Gas 4 Bottom | 1016 | -0.4 | 0 | 0 | 13.6 | 86.2 | 0 | 5 | 0 | 0 | pen >15% | Very Hard and Dense |  | 11.4
MH4 | 2 | 1003 | -0.2 | 0 | 1.5 | 8.2 | 90.3 | 0 | 0 | 0 | 0 | 30 | 30.1 | 28.4 | 31.2 | 30.7 | 28 | 28.9 | 30.7 | 29.3 | 30.9 | 30.35 | 30.3 | 30.2 | Gas 5 Bottom | 1016 | -0.4 | 0 | 0 | 13.8 | 86.2 | 0 | 5 | 0 | 0 | pen >15% | Very Hard and Dense |  | 12
MH6 | 3 | 1003 | -0.2 | 0 | 0 | 9.3 | 90.7 | 0 | 0 | 0 | 0 | 21.6 | 21.8 | 21.2 | 24.1 | 23.6 | 20,4 | 21.8 | 23.4 | 22 | 23.8 | 23 | 22.98 | 23.03
MH5 | 4 | 1003 | -0.2 | 0 | 0 | 9.1 | 90.9 | 0 | 0 | 0 | 0 | 20.2 | 20.5 | 20.3 | 22.9 | 22.4 | 19.4 | 20.9 | 22.5 | 21.6 | 20.2 | 19.4 | 20.3 | 21.3
[25 empty] | BH1 | 1015 | -0.54 | 0 | 0.4 | 12.5 | 87.1 | 0 | 5 | 0 | 0 | 25.9
[25 empty] | BH2 | 1015 | -0.5 | 0 | 0 | 14.4 | 85.5 | 1 | 5 | 0 | 0 | 30.2
[25 empty] | BH3 | 1016 | -0.49 | 0 | 1.5 | 12.7 | 85.6 | 1 | 6 | 0 | 0 | 23.03
[25 empty] | BH4 | 1016 | -0.5 | 0 | 0 | 12.9 | 86.5 | 1 | 5 | 0 | 0 | 21.3
| LEL% |  |  | (Lower Explosive Limit ) |  |  |  | Should not exceed 20%
| Carbon Dioxide Level Limits |  |  | Action Recommended |  |  |  | Above 1.5%
|  |  |  | Action Mandatory |  |  |  | Greater than 5%
Marginal CO2 Level = 1.5%
Higher CO2 Level > 1.5%

## Sheet1
MONITORING BOREHOLES TEST RESULTS